| Mean & Standard Deviation on the Sharp EL-506V |  |
| --- | --- |
| To Enter Data: |  |
| - Press MODE (2NDF then DRG). - Press 3. - Press 0 for single variable. - Enter each data value. - Enter the number. - Press M+. |  |
| To See the Statistics: |  |
| Mean: Press (RCL then 4). | Standard Deviation: Press (RCL then 5). |
| To Clear All Data: |  |
| Press CA (2NDF then DEL). |  |